**Dilution Refrigerator Inquiry Questionnaire**

Name: Click or tap here to enter text.

Affiliation: Click or tap here to enter text.

Telephone number: Click or tap here to enter text.

Fax number: Click or tap here to enter text.

Email address: Click or tap here to enter text.

**1. What research field will the system be used for (select all that apply)?**

Scanning probe microscopy (STM, AFM, etc.)

Quantum information and computation

Transport

Other: Please specify: Click or tap here to enter text.

**2. Do you want a “wet” system or a cryogen-free one?** Choose an item.

**3. Expected base temperature (mK):** Click or tap here to enter text.

**4. Cooling power at 100 mK (micro-watt):** Click or tap here to enter text.

**5. Minimum sample space:**

**Diameter (inches)** Click or tap here to enter text.

**Height (inches)** Click or tap here to enter text.

**6. Any wires needed for users’ experiments?**

(Please refer to the list of available wire and coaxial cables)

**If yes, how many?** Click or tap here to enter text.

**7. Any coaxial cables needed for users’ experiments?** Choose an item.

(Please refer to the list of available wire and coaxial cables)

**If yes, what type of coaxial cables?**

(FormFactor uses SMA feedthrough for the coaxial cables)

|  |  |
| --- | --- |
| Miniature flexible | Quantity: Click or tap here to enter text. |
| Semi rigid | Quantity: Click or tap here to enter text. |

**8. Do you need a dewar?** (If you have an existing dewar, please supply the drawing with dimensions.) Choose an item.

**9. Do you need a superconducting magnet?** Choose an item.

**If yes, please specify the following:**

**Central field at 4.2 K (tesla)** Click or tap here to enter text.

**Clear bore (inches)** Click or tap here to enter text.

**Configuration:** Choose an item.

**10. Do you need the magnet power supply?** Choose an item.

**11. Select accessories needed:**

Helium transfer line

Electronics:

Model 336 Temperature controller

Model 372S AC bridge/temperature controller

1 K pot pumping station

On-site installation

**12. Please specify the following special features, if needed:**

**Special holes?**

**If yes, type?** Choose an item.

**If yes, where?** Click or tap here to enter text.

**Clear shot tubes?**

**If yes, how big?** Click or tap here to enter text.

**If yes, how many?** Click or tap here to enter text.

**Manipulators?**

**Other, if any? Please specify:**  Click or tap here to enter text.

**13. Do you have any building or ceiling height restrictions?** Click or tap here to enter text.

**14. Other information (This will be helpful for designing and pricing.):**

**What is the heat load from the experiments (watt)?** Click or tap here to enter text.

**What kind of experiment do you need this dilution refrigerator for?** Click or tap here to enter text.

**Is this inquiry for a “real” purchase or for proposal?** Choose an item.

**Do you know what model of FormFactor Dilution Refrigerator you are looking for?** (please review our website at [www.formfactor.com](http://www.formfactor.com))

Cryogen-free (“Dry”) Systems:

JDry-600

JDry-500

JDry-250

“Wet” Systems:

Wet DR 50

Wet DR 50-TL

Wet DR 250

Wet DR 250-TL

Wet DR 500

Wet DR 500-TL

Gas Handling Systems (GHS):

Automated GHS

Manual GHS

Other:

|  |  |  |
| --- | --- | --- |
| © Copyright 2022 FormFactor, Inc. All rights reserved. FormFactor and the FormFactor logo are trademarks of FormFactor, Inc. All other trademarks are the property of their respective owners.  All information is subject to change without notice. |  | **Corporate Headquarters**  7005 Southfront Road  Livermore, CA 94551  Phone: 925-290-4000  [www.formfactor.com](http://www.formfactor.com) |
|  |  |  |

**Describe** Click or tap here to enter text.